## Tabelle1
ID | Requirement | Description | Priority | Complexity
Hardware Communication
HC-1 | Serial connectivity | Establish and maintain stable USB serial connection with ESP32 | Critical | Medium
HC-2 | Communication protocol | Implement robust bidirectional messaging protocol | Critical | Medium
HC-3 | Error handling | Detect and recover from communication errors | High | Medium
HC-4 | Wireless connectivity | Support WiFi/BLE connection as alternative | Low | High
Sensor Configuration
SC-1 | Basic AS7341 configuration | Set integration time, gain, and LED current | Critical | Medium
SC-2 | Advanced sensor settings | Configure spectral channels and sampling modes | High | Medium
SC-3 | Configuration profiles | Save/load configuration sets for different experiments | Medium | Low
SC-4 | Auto-calibration | Implement reference calibration procedures | Medium | High
Experimental Protocol
EP-1 | Basic measurement protocol | Execute single and continuous measurements | Critical | Medium
EP-2 | Time-series acquisition | Configure and run timed measurement sequences | Critical | Medium
EP-3 | Custom protocol editor | Create and modify experimental protocols | Medium | High
EP-4 | Automated sequences | Run multi-phase experimental designs | Low | High
Data Acquisition
DA-1 | Raw spectral data collection | Collect and parse all AS7341 channel data | Critical | Low
DA-2 | Time-stamped data records | Associate precise timestamps with measurements | Critical | Low
DA-3 | Multiple sampling rates | Support variable sampling frequencies | High | Medium
DA-4 | Measurement annotations | Add notes/markers to specific data points | Medium | Low
Data Processing
DP-1 | Basic signal processing | Background subtraction and normalization | Critical | Medium
DP-2 | Channel ratio calculations | Calculate and track key spectral ratios | Critical | Low
DP-3 | Agglutination metrics | Calculate agglutination intensity and rate | High | High
DP-4 | Advanced signal processing | Implement filtering and signal enhancement | Medium | High
Data Visualization
DV-1 | Real-time basic plots | Display current readings and simple time series | Critical | Medium
DV-2 | Multi-channel spectral plots | Visualize full spectrum data | High | Medium
DV-3 | Customizable visualization | User-adjustable plots with multiple parameters | Medium | Medium
DV-4 | Advanced visualization | Heat maps and 3D plots for complex data | Low | High
Data Management
DM-1 | Basic data storage | Save experimental data with metadata | Critical | Low
DM-2 | CSV/Excel export | Export data in common formats | High | Low
DM-3 | Data import | Load and analyze previous experiments | Medium | Medium
DM-4 | Batch processing | Process multiple datasets automatically | Low | High
Experiment Documentation
ED-1 | Basic experiment logging | Record experimental parameters and conditions | High | Low
ED-2 | Simple reporting | Generate basic experiment reports | Medium | Medium
ED-3 | Comprehensive reporting | Create detailed reports with analysis | Low | High
Analysis Tools
AT-1 | Basic statistical analysis | Calculate mean, SD, CV of measurements | High | Medium
AT-2 | Comparative analysis | Compare results across experimental conditions | Medium | Medium
AT-3 | Optimization tools | Identify optimal experimental parameters | Low | High
User Interface
UI-1 | Basic operational interface | Control panel for core functions | Critical | Medium
UI-2 | Live data display | Dashboard showing current measurements | Critical | Medium
UI-3 | Experiment workflow UI | Step-by-step experiment execution interface | High | High
UI-4 | Advanced customization | User-configurable interface and preferences | Low | Medium
System Requirements
SR-1 | Cross-platform functionality | Operation on Windows/Mac/Linux | High | Medium
SR-2 | Performance optimization | Efficient resource usage | Medium | Medium
SR-3 | Automated operation | Scheduled/unattended experiment execution | Low | High